## STUDYINFO
THIS INFORMATION IS PROVIDED BY PARC DATA MANAGEMENT TEAM
| Filename | UID
Metadatafiche | ExampleData | NA
Data transfer form | ExampleData | NA
Ethics Template | ExampleData | NA
Codebook Reference | BasicCodebook_v2.3
Codebook Name | BasicCodebook
Codebook Version | 2.3
Study ID
Study Name
Study Description
Country
EC Funded Project
Sampling frame
IPCHEM Metadata link

## SAMPLE
Varname | Description | Type | Unit | MissingsAllowed | MinValue | MaxValue | AllowedValues | DecimalsAfterComma | Conditional | Formula | Remarks
id_sample |  | integer |  | 0 | 1 | Inf
id_subject | UID of the subject | integer |  | 0 | 1 | Inf
id_timepoint | UID of the repeated measurement | integer |  | 0 | 1 | Inf
matrix | matrix of the sample | categorical |  | 0 |  |  | BWB = Blood-whole blood; BP = Blood -plasma; BS = Blood -serum; CBWB = Cord blood-whole blood; CBP = Cord blood-plasma; CBS = Cord blood-serum; US = Urine- random spot; UD = Urine-24h; UM = Urine-first morning urine; SA = Saliva/sputum; SEM = Semen; EBC = exhaled breath condensate; RBC = red blood cells; BM = Breast milk; ADI = Adipose Tissue/Fat; BWBG = Blood-whole blood; BPG = Blood -plasma; BSG = Blood -serum; CBWBG = Cord blood-whole blood; CBPG = Cord blood-plasma; CBSG = Cord blood-serum; BMG = Breast milk; H = Hair; ATN = all toe nails; BTN = big toe nails; DW = dermal wipes; AF = Amniotic Fluid; PLT = placenta tissue |  |  |  | Required unit: µg/L if matrix = 'BWB' OR matrix = 'BP' OR matrix = 'BS' OR matrix = 'CBWB' OR matrix = 'CBP' OR matrix ='CBS' OR matrix = 'US' OR matrix = 'UD' OR matrix = 'UM' OR matrix = 'SA' OR matrix = 'SEM' OR matrix = 'EBC' OR matrix = 'RBC' OR matrix = 'BM' OR matrix = 'ADI' = Adipose Tissue/Fat OR matrix = 'AF'; µg/g if matrix = 'BWBG' OR matrix = 'BPG' OR matrix = 'BSG' OR matrix = 'CBWBG' OR matrix = 'CBPG' OR matrix = 'CBSG' OR matrix ='BMG'; ng/g if matrix = 'H' OR matrix = 'ATN' OR matrix = 'BTN' OR matrix = 'PLT'; µg/cm2 if matrix ='DW'
samplingyear | year of sample collection | integer |  | 0 | 1900 | 2023
samplingmonth | month of sample collection (1 is the first month of the year) | categorical |  | 1 |  |  | 1 = January; 2 = February; 3 = March; 4 = April; 5 = May; 6 = June; 7 = July; 8 = August; 9 = September; 10 = October; 11 = November; 12 = December
samplingday | day of sample collection (1 is the first day of the month) | integer |  | 1 | 1 | 31 |  |  |  |  | Note that this may reveal birth date for newborns sampled at birth. Balance risk of re-identification with necessity to answer research question on case by case basis.
samplingseason | Season of sampling | categorical |  | 1 |  |  | 1 = spring; 2 = summer; 3 = autumn; 4 = winter |  |  |  | Spring: From March 21st to June 20th Summer: From June 21st to September 20th Autumn: From September 21st to December 20th Winter: From December 21st to March 20th
samplinghour | Hour of sampling | integer |  | 1 | 0 | 24
samplingminutes | Minutes of sampling | integer |  | 1 | 0 | 60
analysisyear | Year in which the sample was analyzed in the lab | integer |  | 1 | 1900 | 2023
analysismonth | Month in which the sample was analyzed in the lab | categorical |  | 1 |  |  | 1 = January; 2 = February; 3 = March; 4 = April; 5 = May; 6 = June; 7 = July; 8 = August; 9 = September; 10 = October; 11 = November; 12 = December
analysisday | Day in which the sample was analyzed in the lab | integer |  | 1 | 1 | 31
lipidassessment | Method applied for lipid assessment in the sample | categorical |  | 1 |  |  | 1 = gravimetric analysis; 2 = enzymatic summation; 3 = both |  | IF matrix IS (BWB,BP,BS,CBWB,CBP,CBS,BM,BWBG,BPG,BSG,CBWBG,CBPG,CBSG,BMG) THEN lipidassessment IS not empty

## TIMEPOINT
Varname | Description | Type | Unit | MissingsAllowed | MinValue | MaxValue | AllowedValues | DecimalsAfterComma | Conditional | Formula | Remarks
id_timepoint | UID of the time point in which the samples and questionnaires are taken. This ID should be filled once in case of a one time sampling and multiple times ONLY in case of repeated measurements. Id_timepoint at time 0 should be 1, for a repeated measurement at time 2, id_timepoint should be 2, and so on. | integer |  | 0 | 1 | Inf |  |  |  |  | use this sheet to indicate e.g. repeated measures design, e.g. id_timepoint for sampling at time 0 = 1, id_timepoint for sampling at time 1 = 2. Each id_timepoint should have a corresponding timepoint_description where the timepoint of the sample collection is described.
timepoint_description | provide a description of the time point in case of repeated measurements. | varchar |  | 0 | [6 empty] | e.g. for id_timepoint = 1, timepoint_description = samples were collected at birth; for id_timepoint = 2, timepoint_description = samples were collected at age 1 year.

## SUBJECTUNIQUE
Varname | Description | Type | Unit | MissingsAllowed | MinValue | MaxValue | AllowedValues | DecimalsAfterComma | Conditional | Formula | Remarks
id_subject | UID of the subject | integer |  | 0 | 1 | Inf
id_participant | id_subject of participant (main study subject) to which this subject is linked | integer |  | 0 | [6 empty] | use this variable to link the UID of the subject of e.g. the mother of the participant to the participant itself e.g. child If the study only has participants, then id_subject must be equal to id_participant
relation | relation id_subject vs id_participant (main subject of the study) | categorical |  | 0 |  |  | P = Participant itself; M = Mother of Participant; F = Father of Participant; S = sibling of participant |  |  |  | Participant is the main study subject, this is included to enable creating linkage e.g. mother (one subject) to a child (another subject); e.g. in a mother-newborn cohort the newborn is considered 'P' and the Mother 'M'; if the subject is the participant itself, use 'P'
sex | sex of the subject | categorical |  | 0 |  |  | F = female; M = male
age_birth_m | Age of the mother of the subject in years at delivery | integer |  | 1 | 15 | 60 |  |  | IF any(ageyears) IS < 20 THEN age_birth_m IS not empty
smoking_m | Smoking status of the mother of the subject during pregnancy | categorical |  | 1 |  |  | 0 = no; 1 = yes (smoker during pregnancy) |  | IF any(ageyears) IS < 20 THEN smoking_m IS not empty
case_control | If this is a case-control study, indicate whether the subject belongs to the control or the case group | categorical |  | 1 |  |  | 0 = control; 1 = case |  |  |  | To fill only if the study is a case-control study

## SUBJECTTIMEPOINT
Varname | Description | Type | Unit | MissingsAllowed | MinValue | MaxValue | AllowedValues | DecimalsAfterComma | Conditional | Formula | Remarks
id_subject | UID of the subject | integer |  | 0 | 1 | Inf |  |  |  |  | Must correspond to id_subject in SUBJECTUNIQUE tab
id_timepoint | UID of the time point in which the samples and questionnaires are taken. This ID should be filled ONLY in case of repeated measurements. Id_timepoint at time 0 should be 1, for a repeated measurement at time 2, id_timepoint should be 2, and so on. | integer |  | 0 | 1 | Inf |  |  |  |  | Must correspond to id_timepoint in TIMEPOINT tab
population | Does the participant belong to the general population? | categorical |  | 0 |  |  | 1 = yes; 0 = no
subpopulation | If participant does not belong to the general population, please fill in the appropiate population group to which he/she belongs | categorical |  | 1 |  |  | 1 = Hotspot; 2 = pregnant women; 3 = occupationally exposed; 4 = Clinical; 5 = other |  | IF population IS 0 THEN subpopulation IS not empty
subpopulation_other | If participant does not belong to the general population, please fill in the appropiate population group to which he/she belongs - other subpopulation group | varchar |  | 1 |  |  |  |  | IF subpopulation IS 5 THEN subpopulation_other IS not empty |  | Please provide text
country | country of residence of the subject according to ISO 3166-1 alpha-2 at sampling | varchar |  | 0 | [6 empty] | Source: http://publications.europa.eu/mdr/resource/authority/country/html/countries-eng.html: Use the 2-letter code (ISO 3166-1 alpha-2), e.g. 'BE' = Belgium
nuts1 | NUTS Level 1 of residence of the subject: (Nomenclature of Territorial Units for Statistics), by regional level, version 2021 (NUTS 2021) at sampling | varchar |  | 0 | [6 empty] | Source: https://ec.europa.eu/eurostat/web/nuts/background Note: nuts is not available for all countries. In that case, please provide "subdivision".
nuts2 | NUTS Level 2 of residence of the subject: (Nomenclature of Territorial Units for Statistics), by regional level, version 2021 (NUTS 2021) at sampling | varchar |  | 0 | [6 empty] | Source: https://ec.europa.eu/eurostat/web/nuts/background Note: nuts is not available for all countries. In that case, please provide "subdivision".
nuts3 | NUTS Level 3 of residence of the subject: (Nomenclature of Territorial Units for Statistics), by regional level, version 2021 (NUTS 2021) at sampling | varchar |  | 0 | [6 empty] | Source: https://ec.europa.eu/eurostat/web/nuts/background Note: nuts is not available for all countries. In that case, please provide "subdivision".
subdivision | subdivision of country of residence of the subject according to ISO 3166-2 at sampling | varchar |  | 1 | [6 empty] | Provide only when NUTS classification is not available for the country; click on English short name of the country, to gather the ISO 3166-2 code (e.g. 'BE-VAN' = Antwerpen); provide the highest possible resolution (e.g. not BE-VLG (Vlaams Gewest / Flemish region), which is a partent subdivision of BE-VAN) [ISO 3166-2 CODE from https://www.iso.org/obp/ui/#search/code/]
degurba | Degree of urbanization of residence at sampling of the subject. | categorical |  | 1 |  |  | 1 = Densely populated area (cities); 2 = Intermediate density area (towns or suburbs); 3 = Thinly populated area (rural area) |  |  |  | In the files present in the following wepage (https://ec.europa.eu/eurostat/web/nuts/local-administrative-units), you will find a series of sheets with the country codes. After selecting your country, you will find a column which provides the names of the cities, towns and rural areas for each country, and a column called DEGURBA code with the corresponding DEGURBA code. Looking at those two columns and matching them with each subject of the study, the Degurba number can be extracted. For additional information about this, you can read the following file: http://ec.europa.eu/regional_policy/sources/docgener/work/2014_01_new_urban.pdf
ageyears | age in years of the subject at sampling | integer |  | 0 | 0 | 150 |  |  |  |  | birth date is not used to reduce risk of re-identification
agemonths | age in months of the subject at sampling | integer |  | 1 | 0 | 239 |  |  | IF ageyears IS >= 20 THEN agemonths IS empty |  | birth date is not used to reduce risk of re-identification
ageweeks | age in weeks of the subject at sampling | integer |  | 1 | 0 | 52 |  |  | IF ageyears IS >= 1 THEN ageweeks IS empty |  | birth date is not used to reduce risk of re-identification
agedays | age in days of the subject at sampling | integer |  | 1 | 1 | 7 |  |  | IF ageweeks IS > 1 THEN agedays IS empty |  | birth date is not used to reduce risk of re-identification; age days = 1 for day of birth
isced_raw | education level of the subject (ISCED scale) at sampling | categorical |  | 1 |  |  | 0 = Early childhood education; 1 = Primary education; 2 = Lower secondary education; 3 = Upper secondary education; 4 = Post-secondary non-tertiary education; 5 = Short-cycle tertiary education; 6 = Bachelor's or equivalent level; 7 = Master's or equivalent level; 8 = Doctoral or equivalent level |  | IF ageyears IS >= 20 THEN isced_raw IS not empty |  | According to ISCED 2011 with 9 levels of education: ISCED level 0 - Early childhood education; ISCED level 1 - Primary education; ISCED level 2 - Lower secondary education; ISCED level 3 - Upper secondary education; ; ISCED level 4 - Post-secondary non-tertiary education; ISCED level 5 - Short-cycle tertiary education; ISCED level 6 - Bachelor's or equivalent level; ISCED level 7 - Master's or equivalent level; ISCED level 8 - Doctoral or equivalent level; Eurostat uses this level of aggregation, as data are comparable over time for all participating EU countries except Austria where reclassification of one education programma from ISCED level 4 to level 5 caused the increase of tertiary education.
isced | education level of the subject (ISCED scale) at sampling | categorical |  | 1 |  |  | 1 = Low education (ISCED 0-2); 2 = Medium education (ISCED 3-4); 3 = High education (ISCED >=5) |  | IF ageyears IS >= 20 THEN isced IS not empty |  | According to ISCED 2011 with 9 levels of education: ISCED level 0 - Early childhood education; ISCED level 1 - Primary education; ISCED level 2 - Lower secondary education; ISCED level 3 - Upper secondary education; ; ISCED level 4 - Post-secondary non-tertiary education; ISCED level 5 - Short-cycle tertiary education; ISCED level 6 - Bachelor's or equivalent level; ISCED level 7 - Master's or equivalent level; ISCED level 8 - Doctoral or equivalent level; Eurostat uses this level of aggregation, as data are comparable over time for all participating EU countries except Austria where reclassification of one education programma from ISCED level 4 to level 5 caused the increase of tertiary education.
isced_m_raw | education level of mother of the subject (ISCED scale) at sampling | categorical |  | 1 |  |  | 0 = Early childhood education; 1 = Primary education; 2 = Lower secondary education; 3 = Upper secondary education; 4 = Post-secondary non-tertiary education; 5 = Short-cycle tertiary education; 6 = Bachelor's or equivalent level; 7 = Master's or equivalent level; 8 = Doctoral or equivalent level |  | IF ageyears IS < 20 THEN isced_m_raw IS not empty
isced_m | education level of mother of the subject (ISCED scale) at sampling | categorical |  | 1 |  |  | 1 = Low education (ISCED 0-2); 2 = Medium education (ISCED 3-4); 3 = High education (ISCED >=5) |  | IF ageyears IS < 20 THEN isced_m IS not empty |  | see remark isced
isced_f_raw | education level of father of the subject (ISCED scale) at sampling | categorical |  | 1 |  |  | 0 = Early childhood education; 1 = Primary education; 2 = Lower secondary education; 3 = Upper secondary education; 4 = Post-secondary non-tertiary education; 5 = Short-cycle tertiary education; 6 = Bachelor's or equivalent level; 7 = Master's or equivalent level; 8 = Doctoral or equivalent level |  | IF ageyears IS < 20 THEN isced_f_raw IS not empty
isced_f | education level of father of the subject (ISCED scale) at sampling | categorical |  | 1 |  |  | 1 = Low education (ISCED 0-2); 2 = Medium education (ISCED 3-4); 3 = High education (ISCED >=5) |  | IF ageyears IS < 20 THEN isced_f IS not empty |  | see remark isced
isced_hh_raw | Highest education level of the household of the subject (ISCED scale) at sampling | categorical |  | 1 |  |  | 0 = Early childhood education; 1 = Primary education; 2 = Lower secondary education; 3 = Upper secondary education; 4 = Post-secondary non-tertiary education; 5 = Short-cycle tertiary education; 6 = Bachelor's or equivalent level; 7 = Master's or equivalent level; 8 = Doctoral or equivalent level |  | IF ageyears IS < 20 THEN isced_hh_raw IS not empty | max(isced_m, isced_f)
isced_hh | Highest education level of the household of the subject (ISCED scale) at sampling | categorical |  | 1 |  |  | 1 = Low education (ISCED 0-2); 2 = Medium education (ISCED 3-4); 3 = High education (ISCED >=5) |  | IF ageyears IS < 20 THEN isced_hh IS not empty | max(isced_m, isced_f) | see remark isced
smoking | Smoking status of the subject at sampling | categorical |  | 1 |  |  | 0 = no; 1 = yes (current smoker) |  | IF ageyears IS < 12 THEN smoking IS empty
height | height of the subject at sampling | decimal | cm | 1 | 30 | 250 |  | 1
weight | weight of the subject at sampling | decimal | kg | 1 | 1 | 250 |  | 3
bmi | body mass index of the subject at sampling | decimal | kg/m2 | 1 | 12 | 50 |  | 2 | IF ageyears IS > 0 THEN bmi IS not empty

## SAMPLETIMEPOINT
Varname | Description | Type | Unit | MissingsAllowed | MinValue | MaxValue | AllowedValues | DecimalsAfterComma | Conditional | Formula | Remarks | AdditionalInfo
id_sample | UID of the sample | integer |  | 0 | 1 | Inf |  |  |  |  | Must correspond to id_sample in SAMPLE tab
chol | Cholesterol in sample | decimal | mg/dL | 1 | 50 | 250 |  | 6 | IF matrix IS (BWB,BP,BS,CBWB,CBP,CBS,BM,BWBG,BPG,BSG,CBWBG,CBPG,CBSG,BMG) THEN chol IS not empty |  | measured values (X) are given; -10 = measurement was planned for a participant, but unexpected reasons prevented the sample to be measured (eg. not enough sample, broken tube, analytical issue, etc.) if LOD as well as LOQ is known: -1 for X < LOD -2 for LOD <= X < LOQ if LOQ is known, but LOD is not: -3 for X < LOQ if LOD is known, but LOQ is not: -1 for X < LOD
chol_lod | lod associated with the cholesterol measurement of the sample | decimal | mg/dL | 1 |  |  |  | 6
chol_loq | loq associated with the cholesterol measurement of the sample | decimal | mg/dL | 1 |  |  |  | 6
trigl | Triglycerides in sample | decimal | mg/dL | 1 | 10 | 450 |  | 6 | IF matrix IS (BWB,BP,BS,CBWB,CBP,CBS,BM,BWBG,BPG,BSG,CBWBG,CBPG,CBSG,BMG) THEN trigl IS not empty |  | measured values (X) are given; -10 = measurement was planned for a participant, but unexpected reasons prevented the sample to be measured (eg. not enough sample, broken tube, analytical issue, etc.) if LOD as well as LOQ is known: -1 for X < LOD -2 for LOD <= X < LOQ if LOQ is known, but LOD is not: -3 for X < LOQ if LOD is known, but LOQ is not: -1 for X < LOD
trigl_lod | lod associated with the triglyceride measurement of the sample | decimal | mg/dL | 1 |  |  |  | 6
trigl_loq | loq associated with the triglyceride measurement of the sample | decimal | mg/dL | 1 |  |  |  | 6
lipid | Lipids in sample measured by gravimetric analysis | decimal | mg/dL | 1 | 150 | 900 |  | 6 | IF lipidassessment IS (1,3) THEN lipid IS not empty; IF matrix IS (BWB,BP,BS,CBWB,CBP,CBS,BM,BWBG,BPG,BSG,CBWBG,CBPG,CBSG,BMG) THEN lipid IS not empty |  | measured values (X) are given; -10 = measurement was planned for a participant, but unexpected reasons prevented the sample to be measured (eg. not enough sample, broken tube, analytical issue, etc.) if LOD as well as LOQ is known: -1 for X < LOD -2 for LOD <= X < LOQ if LOQ is known, but LOD is not: -3 for X < LOQ if LOD is known, but LOQ is not: -1 for X < LOD
lipid_lod | lod associated with the lipid measurement of the sample | decimal | mg/dL | 1 |  |  |  | 6
lipid_loq | loq associated with the lipid measurement of the sample | decimal | mg/dL | 1 |  |  |  | 6
lipid_enz | Lipids in sample measured by enzymatic summation | decimal | mg/dL | 1 | 150 | 900 |  | 6 | IF lipidassessment IS (2,3) THEN lipid_enz IS not empty; IF matrix IS (BWB,BP,BS,CBWB,CBP,CBS,BM,BWBG,BPG,BSG,CBWBG,CBPG,CBSG,BMG) THEN lipid_enz IS not empty
density | Urine density of the sample | decimal | g/L | 1 | 1000 | 1050 |  | 6 | IF matrix IS (US,UD,UM) THEN density IS not empty
crt | Concentration of creatinine in urine of the sample | decimal | mg/dL | 1 | 5 | 500 |  | 6 | IF matrix IS (US,UD,UM) THEN crt IS not empty |  | measured values (X) are given; -10 = measurement was planned for a participant, but unexpected reasons prevented the sample to be measured (eg. not enough sample, broken tube, analytical issue, etc.) if LOD as well as LOQ is known: -1 for X < LOD -2 for LOD <= X < LOQ if LOQ is known, but LOD is not: -3 for X < LOQ if LOD is known, but LOQ is not: -1 for X < LOD
crt_lod | lod associated with the creatinine measurement of the sample | decimal | mg/dL | 1 |  |  |  | 6
crt_loq | loq associated with the creatinine measurement of the sample | decimal | mg/dL | 1 |  |  |  | 6
osm | Osmotic concentration of urine of the sample | decimal | Osm/L | 1 | 0.1 | 1.5 |  | 6 | IF matrix IS (US,UD,UM) THEN osm IS not empty
sg | Specific gravity of urine of the sample | decimal |  | 1 | 1 | 1.05 |  | 6 | IF matrix IS (US,UD,UM) THEN sg IS not empty
uvolume | Volume of the urine sample | decimal | L | 1 | 0.05 | 1 |  | 6 | IF matrix IS (US,UD,UM) THEN uvolume IS not empty
mehp | MEHP level measured in the sample | decimal | µg/L | 1 |  |  |  | 6 |  |  | measured values (X) are given; -10 = measurement was planned for a participant, but unexpected reasons prevented the sample to be measured (eg. not enough sample, broken tube, analytical issue, etc.) if LOD as well as LOQ is known: -1 for X < LOD -2 for LOD <= X < LOQ if LOQ is known, but LOD is not: -3 for X < LOQ if LOD is known, but LOQ is not: -1 for X < LOD | Same variables (biomarker, biomarker_lod, biomarker_loq) will be provided for other biomarkers with the same abbreviations as in the biomarker list. See biomarker list and further information about the harmonization process here: https://hbm.vito.be/tools/data-harmonization
mehp_lod | lod of MEHP associated with the measurement of the sample | decimal | µg/L | 1 |  |  |  | 6
mehp_loq | loq of MEHP associated with the measurement of the sample | decimal | µg/L | 1 |  |  |  | 6

## ANALYTICALINFO
Varname | Description | Type | Unit | MissingsAllowed | MinValue | MaxValue | AllowedValues | DecimalsAfterComma | Conditional | Formula | Remarks
biomarkercode | Biomarker abbreviation as used in the SAMPLETIMEPOINT tabs | varchar |  | 0
matrix | matrix abbreviation | categorical |  | 0 |  |  | BWB = Blood-whole blood; BP = Blood-plasma; BS = Blood-serum; CBWB = Cordblood-whole blood; CBP = Cordblood-plasma; CBS = Cordblood-serum; US = Urine-random spot; UD = Urine-24h; UM = Urine-first morning urine; SA = Saliva/sputum; SEM = Semen; EBC = exhaled breath condensate; RBC = red blood cells; BM = Breast milk; ADI = Adipose Tissue/Fat; BWBG = Blood-whole blood; BPG = Blood-plasma; BSG = Blood-serum; CBWBG = Cordblood-whole blood; CBPG = Cordblood-plasma; CBSG = Cordblood-serum; BMG = Breast milk; H = Hair; ATN = all toe nails; BTN = big toe nails; DW = dermal wipes; AF = Amniotic Fluid; PLT = placenta tissue
labinstitution | institution name acronymn of the laboratory performing the chemical analysis | varchar |  | 1
labgroup | if appliccable; name of the group within the institution/laboratory performing the chemical analysis | varchar |  | 1
labcountry | country of the laboratory performing the chemical analysis | categorical |  | 1 |  |  | AF = Afghanistan; AL = Albania; DZ = Algeria; AS = AmericanSamoa; AD = Andorra; AO = Angola; AI = Anguilla; AQ = Antarctica; AG = AntiguaandBarbuda; AR = Argentina; AM = Armenia; AW = Aruba; AU = Australia; AT = Austria; AZ = Azerbaijan; BS = Bahamas(the); BH = Bahrain; BD = Bangladesh; BB = Barbados; BY = Belarus; BE = Belgium; BZ = Belize; BJ = Benin; BM = Bermuda; BT = Bhutan; BO = Bolivia(PlurinationalStateof); BQ = Bonaire Sint Eustatius and Saba; BA = BosniaandHerzegovina; BW = Botswana; BV = BouvetIsland; BR = Brazil; IO = BritishIndianOceanTerritory(the); BN = BruneiDarussalam; BG = Bulgaria; BF = BurkinaFaso; BI = Burundi; CV = CaboVerde; KH = Cambodia; CM = Cameroon; CA = Canada; KY = CaymanIslands(the); CF = CentralAfricanRepublic(the); TD = Chad; CL = Chile; CN = China; CX = ChristmasIsland; CC = Cocos(Keeling)Islands(the); CO = Colombia; KM = Comoros(the); CD = Congo(theDemocraticRepublicofthe); CG = Congo(the); CK = CookIslands(the); CR = CostaRica; HR = Croatia; CU = Cuba; CW = Curaçao; CY = Cyprus; CZ = Czechia; CI = Côted'Ivoire; DK = Denmark; DJ = Djibouti; DM = Dominica; DO = DominicanRepublic(the); EC = Ecuador; EG = Egypt; SV = ElSalvador; GQ = EquatorialGuinea; ER = Eritrea; EE = Estonia; SZ = Eswatini; ET = Ethiopia; FK = FalklandIslands(the)[Malvinas]; FO = FaroeIslands(the); FJ = Fiji; FI = Finland; FR = France; GF = FrenchGuiana; PF = FrenchPolynesia; TF = FrenchSouthernTerritories(the); GA = Gabon; GM = Gambia(the); GE = Georgia; DE = Germany; GH = Ghana; GI = Gibraltar; GR = Greece; GL = Greenland; GD = Grenada; GP = Guadeloupe; GU = Guam; GT = Guatemala; GG = Guernsey; GN = Guinea; GW = Guinea-Bissau; GY = Guyana; HT = Haiti; HM = HeardIslandandMcDonaldIslands; VA = HolySee(the); HN = Honduras; HK = HongKong; HU = Hungary; IS = Iceland; IN = India; ID = Indonesia; IR = Iran(IslamicRepublicof); IQ = Iraq; IE = Ireland; IM = IsleofMan; IL = Israel; IT = Italy; JM = Jamaica; JP = Japan; JE = Jersey; JO = Jordan; KZ = Kazakhstan; KE = Kenya; KI = Kiribati; KP = Korea(theDemocraticPeople'sRepublicof); KR = Korea(theRepublicof); KW = Kuwait; KG = Kyrgyzstan; LA = LaoPeople'sDemocraticRepublic(the); LV = Latvia; LB = Lebanon; LS = Lesotho; LR = Liberia; LY = Libya; LI = Liechtenstein; LT = Lithuania; LU = Luxembourg; MO = Macao; MG = Madagascar; MW = Malawi; MY = Malaysia; MV = Maldives; ML = Mali; MT = Malta; MH = MarshallIslands(the); MQ = Martinique; MR = Mauritania; MU = Mauritius; YT = Mayotte; MX = Mexico; FM = Micronesia(FederatedStatesof); MD = Moldova(theRepublicof); MC = Monaco; MN = Mongolia; ME = Montenegro; MS = Montserrat; MA = Morocco; MZ = Mozambique; MM = Myanmar; NA = Namibia; NR = Nauru; NP = Nepal; NL = Netherlands(the); NC = NewCaledonia; NZ = NewZealand; NI = Nicaragua; NE = Niger(the); NG = Nigeria; NU = Niue; NF = NorfolkIsland; MP = NorthernMarianaIslands(the); NO = Norway; OM = Oman; PK = Pakistan; PW = Palau; PS = Palestine (Stateof); PA = Panama; PG = PapuaNewGuinea; PY = Paraguay; PE = Peru; PH = Philippines(the); PN = Pitcairn; PL = Poland; PT = Portugal; PR = PuertoRico; QA = Qatar; MK = RepublicofNorthMacedonia; RO = Romania; RU = RussianFederation(the); RW = Rwanda; RE = Réunion; BL = SaintBarthélemy; SH = SaintHelena (AscensionandTristandaCunha); KN = SaintKittsandNevis; LC = SaintLucia; MF = SaintMartin(Frenchpart); PM = SaintPierreandMiquelon; VC = SaintVincentandtheGrenadines; WS = Samoa; SM = SanMarino; ST = SaoTomeandPrincipe; SA = SaudiArabia; SN = Senegal; RS = Serbia; SC = Seychelles; SL = SierraLeone; SG = Singapore; SX = SintMaarten(Dutchpart); SK = Slovakia; SI = Slovenia; SB = SolomonIslands; SO = Somalia; ZA = SouthAfrica; GS = SouthGeorgiaandtheSouthSandwichIslands; SS = SouthSudan; ES = Spain; LK = SriLanka; SD = Sudan(the); SR = Suriname; SJ = SvalbardandJanMayen; SE = Sweden; CH = Switzerland; SY = SyrianArabRepublic; TW = Taiwan(ProvinceofChina); TJ = Tajikistan; TZ = Tanzania (UnitedRepublicof) TH = Thailand; TL = Timor-Leste; TG = Togo; TK = Tokelau; TO = Tonga; TT = TrinidadandTobago; TN = Tunisia; TR = Turkey; TM = Turkmenistan; TC = TurksandCaicosIslands(the); TV = Tuvalu; UG = Uganda; UA = Ukraine; AE = UnitedArabEmirates(the); GB = UnitedKingdomofGreatBritainandNorthernIreland(the); UM = UnitedStatesMinorOutlyingIslands(the); US = UnitedStatesofAmerica(the); UY = Uruguay; UZ = Uzbekistan; VU = Vanuatu; VE = Venezuela(BolivarianRepublicof); VN = VietNam; VG = VirginIslands(British); VI = VirginIslands(U.S.); WF = WallisandFutuna; EH = WesternSahara; YE = Yemen; ZM = Zambia; ZW = Zimbabwe; AX = ÅlandIslands
accreditedmethod | Successful participation in proficiency tests (PTs) by the time of analysis | categorical |  | 1 |  |  | 1 = QMEQAS(QuebecMultielementExternalQualityAssessmentScheme); 2 = OSEQAS(ExternalQualityAssessmentSchemeforOrganicSubstancesinUrine); 3 = AMAP (Arctic Monitoring and Assessment Programme ); 4 = G-EQUAS(GermanExternalQualityAssessmentScheme); 5 = QA/QCHBM4EUprogramme; 6 = QA/QCPARCprogramme; 7 = noaccreditation; 8 = other; 9 = multiple
accreditedmethod_multiple | Successful participation in proficiency tests (PTs) by the time of analysis - multiple options | varchar |  | 1 |  |  |  |  | IF accreditedmethod IS 9 THEN accreditedmethod_multiple IS not empty |  | Combine categories in accreditedmethod options separated by semicolon (e.g: 1;2;3;4)
accreditedmethod_other | Successful participation in PTs by the time of analysis - other method not specified in variables accreditedmethod options | varchar |  | 1 |  |  |  |  | IF accreditedmethod IS 8 THEN accreditedmethod_other IS not empty
method | analytical method used | categorical |  | 1 |  |  | 1 = Atomic Absorption Spectroscopy (AAS); 2 = Cold Vapor Atomic Absorption Spectrometry (CV-AAS); 3 = Cold Vapor Atomic Fluorescence Spectrometry (CV-AFS); 4 = Direct Mercury Analyser; 5 = Enzyme-linked Immunosorbent Assay(ELISA); 6 = Gas Chromatography-flame Photometric Detector (GC-FPD); 7 = Gas Chromatography/High-resolution Mass Spectrometry (GC-HRMS); 8 = Gas Chromatography-Mass Spectrometry(GC-MS); 9 = Gas Chromatography-Tandem Mass Spectrometry(GC-MS/MS); 10 = Gas Chromatography Coupled with the Nitrogen Phosphorous Detector(GC-NPD); 11 = Graphite Furnac eAtomic Absorption Spectroscopy (GF-AAS); 12 = Hydride Generation Atomic Absorption Spectroscopy (HG-AAS); 13 = High Performance Liquid Chromatography-Inductively Coupled Plasma Mass Spectrometry (HPLC-ICP-MS); 14 = Ion Chromatography-Inductively Coupled Plasma Mass Spectrometry (IC-ICP-MS); 15 = Dynamic Reaction Cell Inductively Coupled Plasma Mass Spectroscopy (DRC-ICP-MS); 16 = Inductively Coupled Plasma Atomic Emission Spectroscopy (ICP-AES); 17 = Inductively Coupled Plasma Mass Spectrometry (ICP-MS); 18 = Liquid Chromatography Fluorescence Detector (LC-FLD); 19 = Liquid Chromatography/High-resolution Mass Spectrometry (LC-HRMS); 20 = Liquid Chromatography–Inductively Coupled Plasma Mass Spectrometry( LC-ICP-MS); 21 = Liquid Chromatography with Tandem Mass Spectrometry (LC-MS/MS); 22 = Microflow Liquid Chromatography–Tandem Mass Spectrometry (micro-LC-MS/MS); 23 = Microflow Gas Chromatography–Tandem Mass Spectrometry (micro-GC-MS/MS); 24 = other
method_other | analytical method used - if method was other than the specified options | varchar |  | 1 |  |  |  |  | IF method IS 24 THEN method_other IS not empty